Western Australia

Health (Construction Work) Regulations 1973

Compare between:

[10 Jan 2017, 01-b0-00] and [24 Jan 2017, 01-c0-02]

Western Australia

Health (Miscellaneous Provisions) Act 1911

Health (Construction Work) Regulations 1973

##### 1. Citation

These regulations may be cited as the *Health (Construction Work) Regulations 1973*1.

##### 2. Interpretation

In these regulations, unless the context otherwise indicates —

construction work means any work in connection with the erection, installation or demolition of a building or structure that exceeds 3 storeys;

main contractor means —

(a) a person who has contracted with the owner of work to which this Act applies, to undertake or carry out such work;

(b) if there is no such person as is referred to in paragraph (a), in relation to the work, an owner —

(i) who undertakes or carries out such work; or

(ii) who contracts with more than one person to undertake or carry out such work;

site means the place on which construction work is carried out or is to be carried out;

storey includes any storey which is under the ground level;

temporary sanitary facilities means such of the facilities as under regulation 4 are required by the circumstances prescribed in these regulations;

workman means any person performing construction work for reward, whether as employee, employer, main contractor or subcontractor.

##### 3. No commencement or continuation of construction work

A main contractor —

(a) shall not commence construction work on a site unless and until he has erected on the site temporary sanitary facilities that conform to these regulations; and

(b) shall during the course of construction work erect and maintain temporary sanitary facilities that conform to these regulations.

##### 4. Temporary sanitary facilities

(1) The temporary sanitary facilities to be erected and maintained on a site by a main contractor are as follows —

|  |  |
| --- | --- |
| **Number of Workmen** | **Temporary Sanitary Facility** |
| For each 20, or fraction of 20 | 1 water or chemical closet and 1 handbasin. |
| Where there are 12 or more, for each 30 or fraction of 30 | 1 urinal stall. |

(2) Where a site is served by a system for the disposal of sewage the temporary sanitary facilities other than the temporary sanitary facilities of a chemical closet type shall be connected to that system.

(3) Where on a site the system for the disposal of sewage consists of an impervious tank system the contents of the system shall be regularly removed by a contractor who is approved by a local authority.

(4) Where —

(a) the site is not served by a system for the disposal of sewage; or

(b) it is necessary to comply with regulation 5,

a main contractor shall install a temporary sanitary facility of the chemical closet type that —

(c) has a capacity of not less than 60 flushes without servicing; and

(d) has been approved by the Chief Health Officer or the local authority.

[Regulation 4 amended: Gazette 29 Jun 1984 p. 1782; 10 Jan 2017 p. 264.]

##### 5. Maximum distance of temporary sanitary facilities

Temporary sanitary facilities shall be installed at a distance from a work place that does not exceed —

(a) 90 metres; or

(b) the height of 2 storeys,

whichever is the lesser.

##### 6. Removal of temporary sanitary facilities

A main contractor shall remove the temporary sanitary facilities prescribed under these regulations as soon as possible after permanent sanitary facilities in the building or structure —

(a) are installed within the distance prescribed under regulation 5; and

(b) are approved for use by the local authority.

##### 7. Offences and penalties

(1) A main contractor who contravenes a provision of the regulations specified in the Table to this subregulation commits an offence.

**Table**

Regulations 3 and 6

(2) A main contractor who commits an offence under subregulation (1) is liable to —

(a) a penalty which is not more than $1 000 and not less than —

(i) in the case of a first offence, $100;

(ii) in the case of a second offence, $200; and

(iii) in the case of a third or subsequent offence, $500;

and

(b) if that offence is a continuing offence, a daily penalty which is not more than $100 and not less than $50.

[Regulation 7 inserted: Gazette 14 Oct 1988 p. 4162.]

Notes

1 This is a compilation of the *Health (Construction Work) Regulations 1973* and includes the amendments made by the other written laws referred to in the following table. The table also contains information about any reprint.

Compilation table

| **Citation** | **Gazettal** | **Commencement** |
| --- | --- | --- |
| *Health (Construction Work) Regulations 1973* | 25 Jan 1974 p. 191‑2 | 25 Jan 1974 |
| *Health Legislation Amendment Regulations 1984* r. 4 | 29 Jun 1984  p. 1780-4 | 1 Jul 1984 (see r. 2) |
| *Health (Offences and Penalties) Amendment Regulations 1988* Pt. 10 | 14 Oct 1988 p. 4160-3 | 14 Oct 1988 |
| **Reprint of the *Health (Construction Work) Regulations 1973* as at 11 Jan 2002** (includes amendments listed above) | | |

|  |  |  |
| --- | --- | --- |
| *Health Regulations Amendment (Public Health) Regulations 2016* Pt. 12 | 10 Jan 2017 p. 237‑308 | 24 Jan 2017 (see r. 2(b) and *Gazette* 10 Jan 2017 p. 165) |