Western Australia

Health Act 1911

# Health (Construction Work) Regulations 1973

# Western Australia

Health (Construction Work) Regulations 1973

Contents

1.	Citation	1

2.	Interpretation	1

3.	No commencement or continuation of construction work	2

4.	Temporary sanitary facilities	2

5.	Maximum distance of temporary sanitary facilities	3

6.	Removal of temporary sanitary facilities	3

7.	Offences and penalties	3

Notes

Compilation table	5

Western Australia

Health Act 1911

Health (Construction Work) Regulations 1973

##### 1.	Citation

These regulations may be cited as the Health (Construction Work) Regulations 1973 1.

##### 2.	Interpretation

In these regulations, unless the context otherwise indicates —

construction work means any work in connection with the erection, installation or demolition of a building or structure that exceeds 3 storeys;

main contractor means —

(a)	a person who has contracted with the owner of work to which this Act applies, to undertake or carry out such work;

(b)	if there is no such person as is referred to in paragraph (a), in relation to the work, an owner —

(i)	who undertakes or carries out such work; or

(ii)	who contracts with more than one person to undertake or carry out such work;

site means the place on which construction work is carried out or is to be carried out;

storey includes any storey which is under the ground level;

temporary sanitary facilities means such of the facilities as under regulation 4 are required by the circumstances prescribed in these regulations;

workman means any person performing construction work for reward, whether as employee, employer, main contractor or subcontractor.

##### 3.	No commencement or continuation of construction work

A main contractor —

(a)	shall not commence construction work on a site unless and until he has erected on the site temporary sanitary facilities that conform to these regulations; and

(b)	shall during the course of construction work erect and maintain temporary sanitary facilities that conform to these regulations.

##### 4.	Temporary sanitary facilities

(1)	The temporary sanitary facilities to be erected and maintained on a site by a main contractor are as follows —

| Number of Workmen | Temporary Sanitary Facility |
| --- | --- |
| For each 20, or fraction of 20 | 1 water or chemical closet and 1 handbasin. |
| Where there are 12 or more, for each 30 or fraction of 30 | 1 urinal stall. |

(2)	Where a site is served by a system for the disposal of sewage the temporary sanitary facilities other than the temporary sanitary facilities of a chemical closet type shall be connected to that system.

(3)	Where on a site the system for the disposal of sewage consists of an impervious tank system the contents of the system shall be regularly removed by a contractor who is approved by a local authority.

(4)	Where —

(a)	the site is not served by a system for the disposal of sewage; or

(b)	it is necessary to comply with regulation 5,

a main contractor shall install a temporary sanitary facility of the chemical closet type that —

(c)	has a capacity of not less than 60 flushes without servicing; and

(d)	has been approved by the Executive Director, Public Health or the local authority.

[Regulation 4 amended in Gazette 29 Jun 1984 p. 1782.]

##### 5.	Maximum distance of temporary sanitary facilities

Temporary sanitary facilities shall be installed at a distance from a work place that does not exceed —

(a)	90 metres; or

(b)	the height of 2 storeys,

whichever is the lesser.

##### 6.	Removal of temporary sanitary facilities

A main contractor shall remove the temporary sanitary facilities prescribed under these regulations as soon as possible after permanent sanitary facilities in the building or structure —

(a)	are installed within the distance prescribed under regulation 5; and

(b)	are approved for use by the local authority.

##### 7.	Offences and penalties

(1)	A main contractor who contravenes a provision of the regulations specified in the Table to this subregulation commits an offence.

Table

Regulations 3 and 6

(2)	A main contractor who commits an offence under subregulation (1) is liable to —

(a)	a penalty which is not more than $1 000 and not less than —

(i)	in the case of a first offence, $100;

(ii)	in the case of a second offence, $200; and

(iii)	in the case of a third or subsequent offence, $500;

and

(b)	if that offence is a continuing offence, a daily penalty which is not more than $100 and not less than $50.

[Regulation 7 inserted in Gazette 14 Oct 1988 p. 4162.]

Notes

1	This is a compilation of the Health (Construction Work) Regulations 1973 and includes the amendments made by the other written laws referred to in the following table.

Compilation table

| Citation | Gazettal | Commencement |
| --- | --- | --- |
| Health (Construction Work) Regulations 1973 | 25 Jan 1974 p. 191-2 | 25 Jan 1974 |
| Health Legislation Amendment Regulations 1984 r. 4 | 29 Jun 1984 p. 1780-4 | 1 Jul 1984 (see r. 2) |
| Health (Offences and Penalties) Amendment Regulations 1988 Pt. 10 | 14 Oct 1988 p. 4160-3 | 14 Oct 1988 |
| Reprint of the Health (Construction Work) Regulations 1973 as at 11 Jan 2002 (includes amendments listed above) |  |  |

Defined terms

[This is a list of terms defined and the provisions where they are defined.  The list is not part of the law.]

Defined term	Provision(s)

construction work	2

main contractor	2

site	2

storey	2

temporary sanitary facilities	2

workman	2