Western Australia

Electricity Act 1945
Gas Standards Act 1972

# Commerce Regulations Amendment (Electricity and Gas Standards) Regulations 2026

# Western Australia

Commerce Regulations Amendment (Electricity and Gas Standards) Regulations 2026

Contents

Part 1 — Preliminary

1.	Citation	1

2.	Commencement	1

Part 2 — Electricity (Licensing) Regulations 1991 amended

3.	Regulations amended	2

4.	Regulation 3 amended	2

5.	Regulation 19 amended	2

6.	Regulation 49 amended	3

7.	Regulation 49AA inserted	3

49AA.	When applicable standards take effect	3

8.	Regulation 51 amended	4

9.	Schedule 2 replaced	4

Schedule 2 — Standards for electrical work

Part 3 — Gas Standards (Gasfitting and Consumer Gas Installations) Regulations 1999 amended

10.	Regulations amended	8

11.	Regulation 36 amended	8

12.	Schedule 6 amended	8

13.	Schedule 7 replaced	9

Schedule 7 — Standards containing requirements for consumers’ gas installations

Electricity Act 1945
Gas Standards Act 1972

Commerce Regulations Amendment (Electricity and Gas Standards) Regulations 2026

Made by the Governor in Executive Council.

## Part 1 — Preliminary

##### 1.	Citation

These regulations are the Commerce Regulations Amendment (Electricity and Gas Standards) Regulations 2026.

##### 2.	Commencement

These regulations come into operation as follows —

(a)	Part 1 — on the day on which these regulations are published on the WA legislation website (publication day);

(b)	the rest of the regulations — on the day after the period of 3 months beginning on publication day.

## Part 2 — Electricity (Licensing) Regulations 1991 amended

##### 3.	Regulations amended

This Part amends the Electricity (Licensing) Regulations 1991.

##### 4.	Regulation 3 amended

(1)	In regulation 3(1) delete the definition of main switchboard and insert:

main switchboard means “switchboard, main” as defined in the Australian/New Zealand Wiring Rules;

(2)	In regulation 3(1) in the definition of Australian/New Zealand Wiring Rules delete “AS/NZS 3000:2018” and insert:

AS/NZS 3000

##### 5.	Regulation 19 amended

In regulation 19(1A) delete the definition of flexible cord and insert:

flexible cord means “Cord, flexible” as defined in the Australian/New Zealand Wiring Rules;

##### 6.	Regulation 49 amended

(1)	In regulation 49(1):

(a)	delete “subregulations (2a) and (2B),” and insert:

subregulation (2a) and regulation 49AA,

(b)	delete “shall” and insert:

must

(2)	Delete regulation 49(2B).

(3)	In regulation 49(3) delete “shall” and insert:

must

##### 7.	Regulation 49AA inserted

After regulation 49 insert:

49AA.	When applicable standards take effect

(1)	In this regulation —

applicable standard means a standard compliance with which is required under regulation 49(1)(a) or (c).

(2)	An applicable standard, or an amendment published by Standards Australia to an applicable standard, does not have effect for the purposes of regulation 49(1) until —

(a)	a day declared by the Director by notice published in the Gazette; or

(b)	if no day is declared —

(i)	the day specified in the standard, or the amendment to the standard, as the day on which the standard, or the amendment, comes into effect (the commencement day); or

(ii)	if there is no commencement day specified in the standard or the amendment to the standard — 6 months after the day on which the standard, or the amendment, is published by Standards Australia.

##### 8.	Regulation 51 amended

In regulation 51(3) delete the definition of consumers mains and insert:

consumers mains means “Consumer mains” as defined in the Australian/New Zealand Wiring Rules;

##### 9.	Schedule 2 replaced

Delete Schedule 2 and insert:

Schedule 2 — Standards for electrical work

[r. 49(1)(c)]

| Item | Standard | Title |
| --- | --- | --- |
| 1. | AS 2067 | Substations and high voltage installations exceeding 1kV a.c. |
| 2. | AS/NZS 3001.1 | Electrical installations — Connectable electrical installations and supply arrangements, Part 1: Site supplies for connectable electrical installations |
| 3. | AS/NZS 3001.2 | Electrical installations — Connectable electrical installations and supply arrangements, Part 2: Connectable electrical installations |
| 4. | AS/NZS 3002 | Electrical installations — Shows, carnivals and events |
| 5. | AS/NZS 3003 | Electrical installations — Patient areas |
| 6. | AS/NZS 3004.1 | Electrical installations — Marinas and boats, Part 1: Marinas |
| 7. | AS/NZS 3004.2 | Electrical installations — Marinas and boats, Part 2: Boat installations |
| 8. | AS/NZS 3008.1.1 | Electrical installations — Selection of cables, Part 1.1: Cables for voltages up to and including 0.6/1 kV a.c. and up to and including 1500 V d.c. — Typical Australian installation conditions |
| 9. | AS/NZS 3010 | Electrical installations — Generating sets |
| 10. | AS 3011.1 | Electrical installations — Secondary batteries installed in buildings, Part 1: Vented cells |
| 11. | AS 3011.2 | Electrical installations — Secondary batteries installed in buildings, Part 2: Sealed cells |
| 12. | AS 4086.1 | Secondary batteries for use with stand-alone power systems, Part 1: General requirements |
| 13. | AS/NZS 4509.1 | Stand-alone power systems, Part 1: Safety and installation |
| 14. | AS/NZS 4777.1 | Grid connection of energy systems via inverters, Part 1: Installation requirements |
| 15. | AS/NZS 4777.2 | Grid connection of energy systems via inverters, Part 2: Inverter requirements |
| 16. | AS/NZS 5033 | Installation and safety requirements for photovoltaic (PV) arrays |
| 17. | AS/NZS 5139 | Electrical installations — Safety of battery systems for use with power conversion equipment |
| 18. | AS/NZS 7000 | Overhead line design Note: Applies to overhead lines downstream of the point of supply |
| 19. | AS/NZS IEC 60079.0 | Explosive atmospheres, Part 0: Equipment — General requirements |
| 20. | AS/NZS IEC 60079.10.1 | Explosive atmospheres, Part 10.1: Classification of areas — Explosive gas atmospheres |
| 21. | AS/NZS 60079.14 | Explosive atmospheres, Part 14: Design selection, erection and initial inspection |
| 22. | AS/NZS 60079.17 | Explosive atmospheres, Part 17: Electrical installations inspection and maintenance |

## Part 3 — Gas Standards (Gasfitting and Consumer Gas Installations) Regulations 1999 amended

##### 10.	Regulations amended

This Part amends the Gas Standards (Gasfitting and Consumer Gas Installations) Regulations 1999.

##### 11.	Regulation 36 amended

In regulation 36(3) —

(a)	in paragraph (b) delete “AS 2739; or” and insert:

AS/NZS 2739; or

(b)	in paragraph (c) delete “AS 4732; or” and insert:

AS 4732 — 2002; or

##### 12.	Schedule 6 amended

(1)	In Schedule 6 clause 401(2):

(a)	in paragraph (b) delete “AS 4645.2 —” and insert:

AS/NZS 4645.2 —

(b)	in paragraph (c) delete “AS 2885 —” and insert:

AS 2885.0, AS/NZS 2885.1, AS/NZS 2885.2, AS 2885.3, AS 2885.5 and AS/NZS 2885.6 —

(c)	in paragraph (d) delete “AS 4645.3 —” and insert:

AS/NZS 4645.3 —

(2)	In Schedule 6 clause 508(1) delete “AS/NZS 60335-2-102.” and insert:

AS/NZS 60335.2.102.

##### 13.	Schedule 7 replaced

Delete Schedule 7 and insert:

Schedule 7 — Standards containing requirements for consumers’ gas installations

[r. 32(1)(b)]

| Item | Standard | Title |
| --- | --- | --- |
| 1. | AS/NZS 5601 | Gas installations |
| 2. | AS 3814 | Industrial and commercial gas-fired appliances |
| 3. | AS/NZS 1596 | The storage and handling of LP Gas |
| 4. | AS 4732 — 2002 | LP Gas fuel systems for marine engines |
| 5. | AS/NZS 1425 | LP Gas fuel systems for vehicle engines |
| 6. | AS/NZS 2739 | Natural gas (NG) fuel systems for vehicle engines |
| 7. | AS 4983 | Gas fuel systems for forklifts and industrial engines |
| 8. | AS 5092 | CNG refuelling stations |
| 9. | AS 3961 | The storage and handling of liquefied natural gas |
| 10. | AS/NZS 4645.3 | Gas distribution networks, Part 3: Plastics pipe systems |
| 11. | AS/NZS 4645.2 | Gas distribution networks, Part 2: Steel pipe systems |
| 12. | AS/NZS 2885.1 | Pipeline systems — High pressure, Part 1: Design and construction |
| 13. | AS/NZS 2885.2 | Pipeline systems — High pressure, Part 2: Welding |
| 14. | AS 2885.5 | Pipeline systems — High pressure, Part 5: Field pressure testing |
| 15. | AS 4041 | Pressure piping |
| 16. | AS/NZS 3100 | Approval and test specification — General requirements for electrical equipment |
| 17. | AS/NZS 60335.2.102 | Household and similar electrical appliances — Safety, Part 2.102: Particular requirements for gas, oil and solid-fuel burning appliances having electrical connections |
| 18. | AS 62282.3.300 | Fuel cell technologies, Part 3.300: Stationary fuel cell power systems — Installation |
| 19. | AS 19880.1 | Gaseous hydrogen — Fuelling stations, Part 1: General requirements |

BRENDAN D’SA, Clerk of the Executive Council

© State of Western Australia 2026.

This work is licensed under a Creative Commons Attribution 4.0 International Licence (CC BY 4.0). To view relevant information and for a link to a copy of the licence, visit www.legislation.wa.gov.au.

Attribute work as: © State of Western Australia 2026.

By Authority: ANDREW JONES, Government Printer

Endnotes

[For ease of reference detach these notes and read them alongside the draft.]