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Electricity Act 1945
Gas Standards Act 1972
Commerce Regulations Amendment (Electricity and Gas Standards) Regulations 2026
Made by the Governor in Executive Council.
[bookmark: _Toc242361092][bookmark: _Toc242361186][bookmark: _Toc242361319][bookmark: _Toc242779724]Part 1 — Preliminary
[bookmark: _Toc242361093][bookmark: _Toc242779725]1.	Citation
[bookmark: Start_Cursor]		These regulations are the Commerce Regulations Amendment (Electricity and Gas Standards) Regulations 2026.
[bookmark: _Toc242361094][bookmark: _Toc242779726]2.	Commencement
		These regulations come into operation as follows —
	(a)	Part 1 — on the day on which these regulations are published on the WA legislation website (publication day);
	(b)	the rest of the regulations — on the day after the period of 3 months beginning on publication day.
[bookmark: _Toc242361095][bookmark: _Toc242361189][bookmark: _Toc242361322][bookmark: _Toc242779727]Part 2 — Electricity (Licensing) Regulations 1991 amended
[bookmark: _Toc242361096][bookmark: _Toc242779728]3.	Regulations amended
		This Part amends the Electricity (Licensing) Regulations 1991.
[bookmark: _Toc242361097][bookmark: _Toc242779729]4.	Regulation 3 amended
	(1)	In regulation 3(1) delete the definition of main switchboard and insert: 

	main switchboard means “switchboard, main” as defined in the Australian/New Zealand Wiring Rules;

	(2)	In regulation 3(1) in the definition of Australian/New Zealand Wiring Rules delete “AS/NZS 3000:2018” and insert:

		AS/NZS 3000

[bookmark: _Toc242361098][bookmark: _Toc242779730]5.	Regulation 19 amended
		In regulation 19(1A) delete the definition of flexible cord and insert:

	flexible cord means “Cord, flexible” as defined in the Australian/New Zealand Wiring Rules;

[bookmark: _Toc242361099][bookmark: _Toc242779731]6.	Regulation 49 amended
	(1)	In regulation 49(1): 
	(a)	delete “subregulations (2a) and (2B),” and insert:

		subregulation (2a) and regulation 49AA,

	(b)	delete “shall” and insert: 

		must

	(2)	Delete regulation 49(2B).
	(3)	In regulation 49(3) delete “shall” and insert: 

		must

[bookmark: _Toc242361100][bookmark: _Toc242779732]7.	Regulation 49AA inserted
		After regulation 49 insert:

[bookmark: _Toc242361101][bookmark: _Toc242779733]49AA.	When applicable standards take effect
	(1)	In this regulation — 
	applicable standard means a standard compliance with which is required under regulation 49(1)(a) or (c).
	(2)	An applicable standard, or an amendment published by Standards Australia to an applicable standard, does not have effect for the purposes of regulation 49(1) until — 
	(a)	a day declared by the Director by notice published in the Gazette; or
	(b)	if no day is declared — 
	(i)	the day specified in the standard, or the amendment to the standard, as the day on which the standard, or the amendment, comes into effect (the commencement day); or
	(ii)	if there is no commencement day specified in the standard or the amendment to the standard — 6 months after the day on which the standard, or the amendment, is published by Standards Australia.

[bookmark: _Toc242361102][bookmark: _Toc242779734]8.	Regulation 51 amended
		In regulation 51(3) delete the definition of consumers mains and insert: 

	consumers mains means “Consumer mains” as defined in the Australian/New Zealand Wiring Rules;

[bookmark: _Toc242361103][bookmark: _Toc242779735]9.	Schedule 2 replaced
		Delete Schedule 2 and insert: 

[bookmark: _Toc242361104][bookmark: _Toc242361198][bookmark: _Toc242361331][bookmark: _Toc242779736]Schedule 2 — Standards for electrical work
[r. 49(1)(c)]
	Item
	Standard
	Title

	1.
	AS 2067
	Substations and high voltage installations exceeding 1kV a.c.

	2.
	AS/NZS 3001.1
	Electrical installations — Connectable electrical installations and supply arrangements, Part 1: Site supplies for connectable electrical installations

	3.
	AS/NZS 3001.2
	Electrical installations — Connectable electrical installations and supply arrangements, Part 2: Connectable electrical installations

	4.
	AS/NZS 3002
	Electrical installations — Shows, carnivals and events

	5.
	AS/NZS 3003
	Electrical installations — Patient areas

	6.
	AS/NZS 3004.1
	Electrical installations — Marinas and boats, Part 1: Marinas

	7.
	AS/NZS 3004.2
	Electrical installations — Marinas and boats, Part 2: Boat installations

	8.
	AS/NZS 3008.1.1
	Electrical installations — Selection of cables, Part 1.1: Cables for voltages up to and including 0.6/1 kV a.c. and up to and including 1500 V d.c. — Typical Australian installation conditions

	9.
	AS/NZS 3010
	Electrical installations — Generating sets

	10.
	AS 3011.1
	Electrical installations — Secondary batteries installed in buildings, Part 1: Vented cells

	11.
	AS 3011.2
	Electrical installations — Secondary batteries installed in buildings, Part 2: Sealed cells

	12.
	AS 4086.1
	Secondary batteries for use with stand‑alone power systems, Part 1: General requirements

	13.
	AS/NZS 4509.1
	Stand‑alone power systems, Part 1: Safety and installation

	14.
	AS/NZS 4777.1
	Grid connection of energy systems via inverters, Part 1: Installation requirements

	15.
	AS/NZS 4777.2
	Grid connection of energy systems via inverters, Part 2: Inverter requirements

	16.
	AS/NZS 5033
	Installation and safety requirements for photovoltaic (PV) arrays

	17.
	AS/NZS 5139
	Electrical installations — Safety of battery systems for use with power conversion equipment

	18.
	AS/NZS 7000
	Overhead line design
Note:	Applies to overhead lines downstream of 	the point of supply

	19.
	AS/NZS IEC 60079.0
	Explosive atmospheres, Part 0: Equipment — General requirements

	20.
	AS/NZS IEC 60079.10.1
	Explosive atmospheres, Part 10.1: Classification of areas — Explosive gas atmospheres

	21.
	AS/NZS 60079.14
	Explosive atmospheres, Part 14: Design selection, erection and initial inspection

	22.
	AS/NZS 60079.17
	Explosive atmospheres, Part 17: Electrical installations inspection and maintenance



[bookmark: _Toc242361105][bookmark: _Toc242361199][bookmark: _Toc242361332][bookmark: _Toc242779737]Part 3 — Gas Standards (Gasfitting and Consumer Gas Installations) Regulations 1999 amended
[bookmark: _Toc242361106][bookmark: _Toc242779738]10.	Regulations amended
		This Part amends the Gas Standards (Gasfitting and Consumer Gas Installations) Regulations 1999.
[bookmark: _Toc242361107][bookmark: _Toc242779739]11.	Regulation 36 amended
		In regulation 36(3) — 
	(a)	in paragraph (b) delete “AS 2739; or” and insert: 

		AS/NZS 2739; or

	(b)	in paragraph (c) delete “AS 4732; or” and insert:

		AS 4732 — 2002; or

[bookmark: _Toc242361108][bookmark: _Toc242779740]12.	Schedule 6 amended
	(1)	In Schedule 6 clause 401(2):
	(a)	in paragraph (b) delete “AS 4645.2 —” and insert: 

		AS/NZS 4645.2 —

	(b)	in paragraph (c) delete “AS 2885 —” and insert: 

		AS 2885.0, AS/NZS 2885.1, AS/NZS 2885.2, AS 2885.3, AS 2885.5 and AS/NZS 2885.6 —

	(c)	in paragraph (d) delete “AS 4645.3 —” and insert: 

		AS/NZS 4645.3 —

	(2)	In Schedule 6 clause 508(1) delete “AS/NZS 60335‑2‑102.” and insert: 

		AS/NZS 60335.2.102.

[bookmark: _Toc242361109][bookmark: _Toc242779741]13.	Schedule 7 replaced
		Delete Schedule 7 and insert: 

[bookmark: _Toc242361110][bookmark: _Toc242361204][bookmark: _Toc242361337][bookmark: _Toc242779742]Schedule 7 — Standards containing requirements for consumers’ gas installations
[r. 32(1)(b)]
	Item
	Standard
	Title

	1.
	AS/NZS 5601
	Gas installations 

	2.
	AS 3814
	Industrial and commercial gas‑fired appliances

	3.
	AS/NZS 1596
	The storage and handling of LP Gas

	4.
	AS 4732 — 2002
	LP Gas fuel systems for marine engines

	5.
	AS/NZS 1425
	LP Gas fuel systems for vehicle engines

	6.
	AS/NZS 2739
	Natural gas (NG) fuel systems for vehicle engines

	7.
	AS 4983
	Gas fuel systems for forklifts and industrial engines

	8.
	AS 5092
	CNG refuelling stations

	9.
	AS 3961
	The storage and handling of liquefied natural gas

	10.
	AS/NZS 4645.3
	Gas distribution networks, Part 3: Plastics pipe systems

	11.
	AS/NZS 4645.2
	Gas distribution networks, Part 2: Steel pipe systems

	12.
	AS/NZS 2885.1
	Pipeline systems — High pressure, Part 1: Design and construction

	13.
	AS/NZS 2885.2
	Pipeline systems — High pressure, Part 2: Welding

	14.
	AS 2885.5
	Pipeline systems — High pressure, Part 5: Field pressure testing

	15.
	AS 4041
	Pressure piping

	16.
	AS/NZS 3100
	Approval and test specification — General requirements for electrical equipment

	17.
	AS/NZS 60335.2.102
	Household and similar electrical appliances — Safety, Part 2.102: Particular requirements for gas, oil and solid‑fuel burning appliances having electrical connections

	18.
	AS 62282.3.300
	Fuel cell technologies, Part 3.300: Stationary fuel cell power systems — Installation

	19.
	AS 19880.1
	Gaseous hydrogen — Fuelling stations, Part 1: General requirements
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